## Slide 1: Kinect Monitor ++
Research Group
University of Manitoba
Seven Oaks Hospital

## Slide 2: 1. Minimum Requirement
Hardware
  32-bit (x86) or 64-bit (x64) processors
  Dual-core, 2.66-GHz or faster processor
  USB 2.0 bus dedicated to the Kinect
  2 GB of RAM
  Graphics card that supports DirectX 9.0
  A Microsoft Kinect for windows sensor (V1)
Software
  KinectSDK-v1.8-Setup (Drive)

## Slide 3: 2. GUI Introduction
Obtained
Video Stream
Standard Action
6 sections:
Status label
Result view
Image view
History view
Kinect Control
Movement control

## Slide 4: 2. GUI Introduction
Status Label
Show the Index and name of current movement
Shows the Kinect states
2. Image Review
Read in Video Stream
Standard Image

## Slide 5: 2. GUI Introduction
3. Result Viewer
Analog Clock
Counter
Evaluation bar
4. History view
Shows the past evaluation of current movements and records them into a file

## Slide 6: 2. GUI Introduction
5 Kinect Control
a) Radio Button group of mode
Normal: track whole body
Seated: upper body only
b) Close & Open Kinect
c) Quit – kill the process
d) Show & Hide Skeleton
It is strongly recommended to open up the skeleton, which is much helpful to correct your action potentially.

## Slide 7: 2. GUI Introduction
6 Movement Control
a) Radio Button Group
To set difficulty level.
b) PLAY & STOP
To turn on or off the movement assessment system.
c) Pause & Resume
To pause the color image and whole assessment system.
d) Previous & Next
To choose the next or previous kind of movement.
e) Clear button
To erase the completed times and the evaluations, i.e. restart.

## Slide 8: 2. GUI Introduction
Recommend using method
Step1: open up Kinect and check status
Step2: Start playing and configure assessment system
Step4: Close Kinect and ensure it shut down properly
Step3: try to use it in different ways.
Refer to the videos:

## Slide 9: 3. Function Test
Action Tracking

## Slide 10: 3. Function Test
Movement1: dumbbell bicep curls
Movement2: dumbbell shoulder press
Counting and Evaluating

## Slide 11: Kinect Monitor ++
End
Still Under Developing